	[image: image1.jpg]



	Module 1, Lesson 5 – Building a linear temperature sensor

Worksheet


Part 2 - Calibrating your linear temperature sensor
2a) Place the thermistor in a cup of hot water. Measure the temperature with a thermometer and at the same time read the output voltage from the multi-meter. Now reduce the temperature by adding a little cold water and stirring/mixing well. Repeat over a range of temperatures, eventually adding ice to get down to 0°C. Record results in the table below. 
	Temperature, ºC
	0
	10
	20
	30
	40
	50
	60
	70
	80

	Output voltage, Vout
	
	
	
	
	
	
	
	
	


Graph with temperature on the vertical axis (y-axis) and output voltage on the horizontal axis (x-axis).

2b) Is your graph exactly the same as the one you predicted in lesson 4? If not, can you suggest some reasons to explain any differences?
2c) Over what range of temperatures is it reasonable to approximate your graph as being a straight line? Is this a useful range if you want to use your sensor to measure the temperature of the Hudson River?
2d) Using a ruler, best fit a straight line to your graph over the range of values that you think can be reasonably approximate by a straight line (probably 0°C up to about 40°C).

2e) Derive the equation of this straight line using the formula y=mx+b. In this case your Y axis represents temperature, and X axis represents the sensor output voltage, Vout. Hence the equation of the straight line becomes:

Temperature = m× Vout + b



equation 1
Where m is the gradient and b is the height at which the line crosses the y axis. Note that b may be a negative number, i.e. the straight line may intersect the Y axis at a number below zero, see fig. 2. You can find b graphically by extrapolating the axes and your straight line.

Calculating the values of m and b is really the process of calibration. You have now found a simple formula which relates any sensor output, Vout, to Temperature (the quantity you want to measure). Now you can use your sensor system and your equation 1 to measure new unknown temperatures in the environment.

2f) How accurate do you think your sensor system is? Design and carry out an experiment to estimate the typical errors that will be associated with your sensor measurements.




















































































 Building a Linear Temperature Sensor     2

