	[image: image6.png]P





	Module 2, Lesson 3 – Performing mathematical operations on sensor data

Teacher


30 minutes


Purpose of this lesson

· Utilize positive, negative and inverse mathematical relationships in data.

· Program mathematical operators on the NXT computer.

· Program the NXT to produce an output which varies positively with temperature.
Materials

Copy of the lesson

Computer with Mindstorms software

1 NXT 

Graphs plotted in Lessons 1 and 2 which show “NXT raw value” versus temperature

Graph paper

Part 1 - creating an output which varies positively with temperature
The relationship between NXT output and temperature should be positive and approximately linear. In module 1, we did this with the original circuit by measuring the voltage across the 10kΩ resistor rather than across the thermistor itself. We will use the same trick here. Remember:
[image: image1.jpg]


[image: image4.png]P




[image: image5.emf]1024 minus NXT raw number

0

100

200

300

400

500

600

700

800

900

1000

1100

0 20 40 60 80 100

Temperature C

1-NXT raw sensor number

In module 1, your circuit looked like this:

NXT circuit is like this:
Also remember that the voltage measured by the NXT (call this VNXT) is the voltage across the thermistor, and is given by the potential divider equation:

VNXT
=

[image: image2.wmf])

R

10000

(

R

T

T

+

W


× 5


equation 1

Where RT is the resistance of the thermistor, which varies with temperature (see module 1, lessons 4 and 5).

The total voltage across the potential divider circuit inside the NXT is 5V, and this is the total voltage across both the 10kΩ resistor and the thermistor together. In other words:

5 = VNXT + VT

equation 2
where VNXT is the voltage across the 10kΩ resistor (which is the voltage measured by the NXT’s internal voltmeter), and VT is the voltage across the thermistor. Therefore you can calculate the voltage across the 10kΩ resistor alone, as simply 5 minus the voltage across the thermistor, i.e. 
VT = 5 - VNXT
equation 2
Remember the NXT measures voltages as raw numbers from 0-1024, where 1024 represents 5V. Therefore, equivalent (5 - VNXT) in voltage is equivalent to (1024 – NXT raw value).

Assessment
Try predicting the graph of these values (1024 – NXT raw value) versus temperature. You will need to use the graphs plotted in Lessons 1 and 2 which show “NXT raw value” versus temperature. On this new plot, use the vertical axis (y-axis) for 1024 – NXT raw value, and use the horizontal axis (x-axis) for temperature. 
Part 2 – programming the NXT to output values which vary positively with temperature
1)  Use the Mindstorms software to create the program below:

[image: image3.png]Complete

‘Number to

H[ D0 8 D@ o

senslt yaar 1

B vt

= User Profle

i

Need help?

Mous the cursor over an objact to read about ts function. For
additional halp, dick the "Hora help" link

More help »

2)
2






This program means:

In an infinitely repeated loop:


Read the raw sensor value (0-1024 from the voltmeter in the sensor port)


Subtract the raw value from 1024


Convert the resulting number into text

Display this text on the NXT screen

Keep on repeating

Use the math block to do the subtraction. When you insert the math block you will see a panel appear at the bottom of your screen where you can configure the block to perform subtraction, and set “A – B” to be 1024 – raw sensor value.
Assessment
How does adding this extra step make the NXT circuit more like the sensor you built in Module 1, Lesson 5?
Answer: The output varies positively with temperature.  A better answer is, now the sensor output will behave the same as in the earlier sensor when we took the voltage reading across the resistor instead of the thermistor.
























Fig. 1b. Internal circuit of NXT when connected to an external thermistor. The Voltmeter shown here is built inside the NXT and sends voltage readings to your programs.





Fig. 1a. Temperature sensor circuit from module 1.





V





Voltmeter





10kΩ


Resistor





Thermistor





5V





V





Voltmeter





10kΩ


Resistor





Thermistor





9V





Math block:


“A minus B”





where A is set to 1024


and B is output from sensor








 Performing Mathematical Operations on Sensor Data                                                                        3

_1308855820.unknown

